## Slide 1: Image Analysis and Processing
Austin Blanco
2009

## Slide 2: Example Imaging Workflow
Acquire
Display
Lookup Tables
Scaling
Process
Kernels
Morphometry
Arithmetic
Segmentation (Thresholds)
Covered in Quantitative Imaging Fundamentals

## Slide 3: Processing
Use of convolution filters in microscopy images:
  Do they affect data Integrity?
  Is it possible to over-process an image?
  When are certain filters appropriate vs. others?

## Slide 4: Types of image processing
Kernel based convolutions
Binary operations
Arithmetic operations
Morphological convolutions
Application Specific Filters

## Slide 5: Kernel Convolution
-1
-1
-1
-1
9
-1
-1
-1
-1

## Slide 6: Try it out
Open supplied image “Shapes.tif”.
Under Image Menu select “Smooth” filter.
Compare to Median Filter.

## Slide 7: Real World Use
Open “Smooth Example.tif”
Try to threshold the image.(lighter areas cannot be segmented from dark areas due to noise)
Run the Smooth filter or median filter.
Threshold the image.

## Slide 8: Why use Binaries?
Binaries:
  Allow regional processing within an image
  Support Multiple layer arithmetic operations
  Interact with regions for advanced measurement.
Examples
  Cut areas between two points
  Measure regions outside or inside of a definable boundary
  Analyze small objects (organelles/processes) within a larger object (cell).

## Slide 9: Binary Operations
“Intensity” Image
Intensity
X Axis in Image
“Binary” Image
Intensity
X Axis in Image

## Slide 10: Binary Operation Usage
Threshold Image
Run Filter
Analyze Result
Binary Reference
Advanced Count

## Slide 11: Try it out
Open “Simple Binary.tif”
Select Image _>Color -> Split Channels
Select blue image and set threshold
Under menu select duplicate.
Under Process -> Binary select Erode 2x
Under Process select Image Calculator
Set Image Blue (Difference) Blue-1
Note only areas around the nucleus are selected.

## Slide 12: Break

## Slide 13: Arithmetic Operations
Calculate using one pixel on image A vs. corresponding pixel in Image B
Used For:
  Advanced background or shading corrections
  Object identification
  Time-based Analysis

## Slide 14: Try it Out
Open Channel1 & Channel2
Select Nucleus image.
  Threshold image
  Run Process ->Binary->Watershed
  Run Process->Binary->Erode
  Select Edit-> Invert on channel2
  Run Process->Image Calculator and set Image 2 (AND) Image 1.
  Set threshold on result – do NOT press apply!
  Select Analyze ->Analyze Particles.

## Slide 15: Morphological Convolutions
Treat each brightness value as a separate binary layer. (eg intensity 0,1 – then intensity 1,2 from 0 to image maximum)
Uses Filters on whole image that used to be restricted to binaries.
Provides more utility without requiring moving image into binary space (saves time).

## Slide 16: Try it Out
Open “Binary vs. Intensity_Intensity.tif”.
Under Plugins->Filters, try various filters and settings.
  Note the following abilities not found elsewhere:
      Grayscale Erode
      Grayscale Dilate
      Domes (Top Hat)

## Slide 17: How do filters affect data integrity?
Images are excel files.
Filters are mathematical calculations
  Given the same input the output never changes
  Output change amounts can be measurably determined (difference between raw & processed)

## Slide 18: Processing Workflow Options
Original Image
Processing used to identify objects
Measurements taken and processing changes accepted.
Original data is re-applied
Processing only used for segmentation
Measurements taken only on original data areas
Faster
More Accurate

## Slide 19: Q & A

## Slide 20: Example Imaging Workflow
Acquire
Display
Lookup Tables
Scaling
Process
Kernels
Morphometry
Arithmetic
Segmentation (Thresholds)
Analyze
Area Analysis
Object Analysis
ND Analysis
Advanced Analytics

## Slide 21: Area Measurements
Whole Image
User Defined
  Regions
  Threshold

## Slide 22: Object Measurements
  What is a “Morphometric Object”?
    Group of connected pixels
    Pixels are thresholded as signal
    Morphometry measurements (used to classify cells/objects etc) can be performed on groups, or objects.
Identified Object

## Slide 23: Object Measurements
Width
Length
Perimeter

## Slide 24: Difficulties
How are non-square measurements made?

## Slide 25: Thresholding on Color
RGB vs. HSI
  RGB = Additive
      Represented as amount of color in Red Green or Blue
  HSI = Percentage
      Represented as occupation of:
        Hue (Dominant color or color tone)
        Saturation (Purity of the Color)
        Intensity (Magnitude of Signal)
  Select Image->Type->HSB Stack

## Slide 26: RGB vs. HSI

## Slide 27: Q & A